| RELEASE NOTE |  |  |
| --- | --- | --- |
| Boss Order No.: 5023337 |  | DATE: 29.10.2021 |

| Name & Address of the Client : | M/s. Goa Waste Management Corporation (GWMC) |
| --- | --- |
| Name of Project : | MSW Treatment Facility of 100 TPD at Cacora in South Goa. |
| Name & Address of the Seller : | Contractor: - M/s. VASUDHA WASTE TREATMENT PVT. LTD. A/c SFC ENVIRONMENTAL TECHNOLOGIES PVT LTD Mfgr-M/s. Alfa Laval India Private Limited. |
| P/O No. & Date : | PO No- SETPL/AL/South Goa/21-22/022 Dated: 27.04.2021 (P.O. From M/s. SFC to M/s. Alfa Laval) |
| Date (s) & Place (s) of Inspection : | On Dated: 26.10.2021 at Manufacturer’s works at Dapodi, Pune. |
| Description of Material : | CENTRTFUGE DECANTER |

| Item # as per Contract/ Order | Description & Size | Quantity as per Contract / Order (Nos.) | Quantity Previously passed (Nos.) | Quantity Offered (Nos.) | Quantity Now Passed (Nos.) | Quantity Rejected (Nos.) | Quantity Balance (Nos.) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | M/s. ALFA LAVAL Make…... SOLID BOWL CENTRTFUGE DECANTER M/s. Alfa Laval make- Decanter Centrifuge. Model: ALDEC 85. Machine Sr. No’s.: 5131725* & 5131726. Max. Bowl speed: 3600 RPM ABB Make Motor Sr. No’s.: 3G1J21360002005615* and 3G1J21360002005616 Note-* Marked Decanter & Motor Sr Nos are witnessed for Performance test witness. | 02 Nos | NIL | 02 Nos | 02 Nos | NIL | NIL |

P.O. Status:  Completed

Form VF-IN-IND-IN-016                                             					Ver: 1.1 /14.11.2020

| Boss Order No.: 5023337 | DATE: 29.10.2021 |
| --- | --- |

| Reference Document No. (Spec./ Standard / Code / Drawing / Sampling Standard / Any Other) | Scope of Inspection (Checks / Tests - witnessed & Reviewed) | Observation / Results |
| --- | --- | --- |
| PO No.: PO No- SETPL/AL/South Goa/21-22/022 Dated: 27.04.2021 (P.O. From M/s. SFC to M/s. Alfa Laval). | - Verification of outside used instrument calibration certificates/ records. – Done. - Overall Dimensions of Unit (General). - Motor Rating Verification. - Review of raw material test certificates/ lab test reports as per Approved QAP. - Visual inspection. - Quantity Verification. - Review of manufacturers internal test reports. - Performance test witness on Decanter for Half hour for 01 machine. – Additionally, offered same witnessed. - Final inspection of completeness before Dispatch. - Review of Packing List. | Satisfactory |
| QAP / ITP No: -- VWT-SG100-ME-QP-140 Rev.: 0 |  |  |
| Approved Drawing No. VWT/SG100-ME-GA-140 Rev.: 0 |  |  |
| Reference standard / code / specification As per QAP & Drawing |  |  |
| Sampling Standard: As per approved QAP |  |  |

Sampling Standard : AS PER Approved QAP

Identification 	: Decanter Sr. No. on Name Plate etc.

Remarks : This is a Final Inspection Report.  Inspected Quantity is Passed & Cleared for dispatch.

Deviation accepted (if any):   NIL

| Inspection Identification | Location of Identification | Inspected By | Signature of SGS Representative |
| --- | --- | --- | --- |
| SGS | SGS Yellow Stickers affixed in Double on witnessed machine & rest Single near Name Plate details for identification purpose only. | S.B. Patil |  |

The information stated in this release note is derived from the results of inspection or testing procedures carried out in accordance with the instructions of our clients, and / or our assessment of such results on the basis of any technical standards, trade custom or practice, or other circumstances which should in our professional opinion be taken into account.

“In accordance with Client’s instructions, the Company’s involvement has been limited to witnessing/observing a third party’s intervention(s) at the third party’s laboratory/test house or other facilities and installations used for the intervention(s). The Company’s sole responsibility was to be present at the time of the third party’s intervention(s) to forward the results, or confirm the occurrence, of the intervention(s). The Company is not responsible for the condition or calibration of apparatus, instruments and measuring devices used, the analysis methods applied the qualifications, actions or omissions of the third party’s personnel or the analysis results.

This document is issued by the Company under its General Conditions of Service accessible at http://www.sgs.com/terms_and_conditions.htm. Attention is drawn to the limitation of liability, indemnification and jurisdiction issues defined therein.   Any holder of this document is advised that information contained hereon reflects the Company’s findings at the time of it’s intervention only and within the limits of Client’s instructions, if any. The Company’s sole responsibility is to its client and this documents does not exonerate parties to a transaction from exercising all their rights and obligations under the transaction document.  Any unauthorized alteration, forgery or falsification of the content or appearance of this document is unlawful and offenders may be prosecuted to the fullest extent of the law”.

This inspection has been carried out to the best of our knowledge & our responsibility is limited to the exercise of reasonable care. This Release / Discrepancy Note reflects our findings at the time & place of inspection and is not intended to relieve the seller from their contractual obligations.

Form VF-IN-IND-IN-016 Ver: 1.1 /14.11.2020